## Tabelle1
Kompatible Ladestationen
Auflistung der laut ChargePoint, Inc kompatiblen Ladestationen.
Hersteller | Product name | Item number | Certified OCPP version 1.6 | Compatible OCPP version 1.6 | German Calibration law conformity | TLS 1.2 capable | Firmware version | Date of test
ABB | Terra HVC150-260 |  |  | ● |  | ✓ | 0.1.0.75 | 2023-02-23
ABB | Terra AC Wallbox TAC* | 6AGC082174 |  | ● |  | ✓ | 45750 | 2021-06-16
ABB | Terra DCWB TWB CE 24* | 6AGC077815 |  | ● |  | ✓ | 4.3.0.25
ABB | Terra CE 24* | 6AGC073442 |  | ● |  | ✓ | 4.3.0.25
ABB | Terra CE 54* | 6AGC075211 |  | ● |  | ✓ | 4.3.0.25 | 2023-02-23
ABB | Terra CE 124* | 6AGC082794 |  | ● |  | ✓ | 4.3.0.25 | 2023-02-23
ABB | Terra CE 184* | 6AGC080811 |  | ● |  | ✓ | 4.3.0.25 | 2023-02-23
ABB | Terra CE 94* | 6AGC080804 |  | ● |  | ✓ | 4.3.0.25 | 2023-02-23
ABB | Terra HP CE 175* (DC Power Cabinet 175kW) | 6AGC067667 |  | ● |  | ✓ | 1.5.3.21 | 23.02.2023
ABB | Terra CE 360* / 365* |  |  | ● |  | ✓ | 0.1.0.75 | 2023-02-23
ABB | THP CP CE 500* | 6AGC072424 |  | ● |  | ✓ | 4.3.0.25 | 2023-02-23
ABL | eM4 |  | ✓ |  | ✓ | ✓ | 2.0p3 | 2023-09-19
ABL | eMH2* | 2W2261 |  | ● |  |  | 1.6p1 | 2020-02-18
ABL | eMH3* | 3W2264 |  | ● | ✓ |  | 1.6p1 | 2020-02-18
ABL | eMC2* | 2P4445 |  | ● |  |  | 1.6p1 | 2020-02-18
ABL | eMC3* | 3P4411 |  | ● | ✓ |  | 1.6p1
ads-tec | HPC-Dispenser | DVK-HPD1112 |  | ● |  |  | Station 001.609
ads-tec | ChargeBox | DVK-HPX1122 |  | ● |  | ● | VR16
ads-tec | ChargePost | DVK-CPTxxxx |  | ● |  | ● | 1,1,14 | 2023-02-23
Alfen | Eve Mini* | 904460004 | ✓ |  |  |  | 4.8.0-3168 | 2020-11-02
Alfen | Eve Double* | 904461011-0004 | ✓ |  |  |  | 4.8.0-3168 | 2020-11-02
Alfen | Eve Single Pro-line* | 904460003 | ✓ |  |  | ✓ | 4.8.0-3168 | 2020-11-02
Alfen | Eve Single S-line* | 904460503 | ✓ |  |  | ✓ | 4.8.0-3168 | 2020-11-02
Alfen | Twin* | 934452501 | ✓ |  |  | ✓ | 4.8.0-3168
Alpitronic | HYC50 | n.a. | ✓ |  | ✓ | ✓ | hyc50_v1.2 | 2023-02-28
Alpitronic | HYC150 | n.a. | ✓ |  | ✓ | ✓ | HYC_v0.1.1-0030DELTA29 | 2021-12-16
Alpitronic | HYC300 | n.a. | ✓ |  | ✓ | ✓ | HYC_v0.1.1-0030DELTA29 | 2021-12-16
Alpitronic | HYC400 | n.a. | ✓ |  |  | ✓ | HYC_V2.1.0 | 2024-04-18
Alpitronic | HYC200 | n.a. | ✓ |  |  | ✓ | HYC_V2.1.0 | 2024-04-18
Amperfied | Chargespot connect.public | 400200535 | ✓ |  | ✓ | ✓ | 5.21.2-13536 | 2023-09-20
Amperfied | HDM Combox | [6 empty] | 2021-01-21
Autel | MaxiCharger DC |  |  | ● |  | ✓ |  | 2023-08-04
Autel | MaxiCharger AC |  |  | ● |  | ✓ |  | 2023-08-04
Autel | BP/Chargemaster
Autel | F7 |  | ✓ |  |  | ✓ | FW 8.17 | 2024-04-18
Autel | UC50 |  | ✓ |  |  | ✓ | FW 5.1.2 | 2024-04-18
Charge Amps AB | Charge Amps Halo | 130577 | ✓ |  |  | ✓ | 169 | 2023-05-16
Charge Amps AB | Charge Amps Halo | 130577
Charge Amps AB | Charge Amps Aura | 130908 | ✓ |  |  | ✓ | 134 | 2023-05-16
Charge Amps AB | Charge Amps Aura | 130909
Charge Amps AB | chargebyte
Charge Amps AB | Charge Control C |  | ✓ |  | ✓ | ✓ | 36526 | 2022-09-19
ChargeX | Aqueduct+ | CX-08-1000 | ✓ |  |  |  | MCC 0.11.0; SCC 0.9.1 | 03.02.2020
ChargeX | Aqueduct.4 | CX-08-4000 | ✓ |  |  |  | MCC 0.11.0; SCC 0.9.1 | 03.02.2020
Circontrol | RAPTION 50 | QCR05 | ✓ |  |  |  | 2.15.2-rc3 | 2021-01-20
Circontrol | RAPTION 150 | QCR15 | ✓ |  |  |  | 2.15.2-rc3 | 2021-01-20
Circontrol | RAPTION 100 | QCR10 | ✓ |  |  |  | 2.15.2-rc3 | 2021-01-20
Circontrol | Post eVolve Master S | PVM | ✓ |  |  |  | 3.7.1-rc1 | 2021-01-20
Circontrol | Post eVolve Master T | PMV | ✓ |  |  |  | 3.7.1-rc1 | 2021-01-20
Circontrol | Post eVolve Smart T | PVS00064 | ✓ |  |  |  | 3.7.1-rc1 | 2021-01-20
Circontrol | Post eVolve Smart S | PVS00064 | ✓ |  |  |  | 3.7.1-rc1 | 2021-01-20
Circontrol | Post eVolve Smart C63 One | PVS00064 | ✓ |  |  |  | 3.7.1-rc1 | 2021-01-20
Circontrol | Post eVolve Smart TM4 | PVS00064 | ✓ |  |  |  | 3.7.1-rc1 | 2021-01-20
Circontrol | Wallbox eVolve S | WVS | ✓ |  |  |  | 3.7.1-rc1 | 2021-01-20
Circontrol | Wallbox eVolve T | WVS | ✓ |  |  |  | 3.7.1-rc1 | 2021-01-20
Circontrol | eNext PARK S | WNP | ✓ |  |  |  | 3.7.1-rc1 | 2021-01-20
Circontrol | eNext PARK SME | WNP | ✓ |  |  |  | 3.7.1-rc1 | 2021-01-20
Circontrol | eNext PARK S Two | WNP | ✓ |  |  |  | 3.7.1-rc1 | 2021-01-20
Circontrol | eNext PARK T | WNP | ✓ |  |  |  | 3.7.1-rc1 | 2021-01-20
Circontrol | eNext PARK TME | WNP | ✓ |  |  |  | 3.7.1-rc1 | 2021-01-20
Circontrol | WBC32-SMART | PA00 | ✓ |  |  |  | 3.7.1-rc1 | 2021-01-20
Circontrol | WBMC-SMART TRI | PA00 | ✓ |  |  |  | 3.7.1-rc1 | 2021-01-20
Circontrol | WBM-SMART TRI | PA00 | ✓ |  |  |  | 3.7.1-rc1 | 2021-01-20
Circontrol | WB2M SMART TRI | PA00 | ✓ |  |  |  | 3.7.1-rc1 | 2021-01-20
Civitronic | Lektrico - L22C |  | ✓ |  |  |  | lek3.co_PIC.X.production.bl2 | 11.03.2020
Civitronic | Lektrico - L22S |  | ✓ |  |  |  | lek3.co_PIC.X.production.bl2 | 2020-03-11
Civitronic | Lektrico - L43C |  | ✓ |  |  |  | lek3.co_PIC.X.production.bl2 | 2020-03-11
Compleo | Advanced BM (Base Mounted) | n.a. | ✓ |  | ✓ | ✓ | compleo_fw_5.16.2-B4_ac_20191029.dat
Compleo | Advanced WM (Wall Mounted) | n.a. | ✓ |  | ✓ | ✓ | compleo_fw_5.16.2-B4_ac_20191029.dat
Compleo | Highline BM (Base Mounted) | n.a. | ✓ |  | ✓ | ✓ | compleo_fw_5.16.2-B4_ac_20191029.dat
Compleo | Cito BM 240 | n.a. | ✓ |  | ✓ | ✓ | compleo_fw_5.16.2-B4_ac_20191029.dat | 2019-12-06
Compleo | Cito BM 500 | n.a. | ✓ |  | ✓ | ✓ | compleo_fw_5.16.2-B4_ac_20191029.dat | 2019-12-06
Compleo | eTower200 | n.a. | ✓ |  | ✓ | ✓ | 6.12.0-T1 | 2024-08-14
Compleo | eBox | n.a. | ✓ |  | ✓ | ✓ | eBox_FW_2.4.1_es.tar.gz.enc.sign | 2024-08-26
CTEK E-MOBILITY | Chargestorm -Connected | 910-170** | ✓ |  |  |  | r3.12.3 | 08.07.2020
CTEK E-MOBILITY | Njord Go | 40-35* | ✓ |  |  |  | r3.12.3 | 08.07.2020
CTEK E-MOBILITY | Dae young Chaevi
CTEK E-MOBILITY | CHAEVI AC 11 kW | DCV-3WB11C-2 | ✓ |  |  | ✓ | 10 | 2021-12-15
CTEK E-MOBILITY | CHAEVI AC 22 kW | DCV-3WB22C-2 | ✓ |  |  | ✓ | 10 | 2021-12-15
CTEK E-MOBILITY | CHAEVI DC50 Triple (Fast Charger) | DCV-3FT50 | ✓ |  |  | ✓ | 10 | 2021-12-15
CTEK E-MOBILITY | CHAEVI DC100 Dual (Fast Charger) | DCV-3FD100 | ✓ |  |  | ✓ | 10 | 2021-12-15
CTEK E-MOBILITY | CHAEVI DC200 Mono (Fast Charger) | DCV-3FS200 | ✓ |  |  | ✓ | 10 | 2021-12-15
CTEK E-MOBILITY | CHAEVI DC200 Dual (Fast Charger) | DCV-3FD200 | ✓ |  |  | ✓ | 10 | 2021-12-15
CTEK E-MOBILITY | CHAEVI DC400 (Ultra Fast Charger) - CP | DCV-3FN(400)P | ✓ |  |  | ✓ | 10 | 2021-12-15
CTEK E-MOBILITY | CHAEVI DC400 (Ultra Fast Charger) - PB | DCV-3FN(400)C | ✓ |  |  | ✓ | 10 | 2021-12-15
DBT-CEV | KEREN V1 |  | ✓ |  |  |  | 2.1.4.6 | 2023-07-10
Delta Electronics | UFC 150 kW |  | ✓ |  | ✓ | ✓ | 45750 | 2021-06-16
Delta Electronics | UFC 200 kW |  | ✓ |  | ✓ | ✓ | 45750 | 2021-06-16
Delta Electronics | DiniTech
Delta Electronics | NRGkick | 12501001 |  | ● |  | ✓ | n.a. | 2021-12-01
Easee | Easee Home |  |  | ● |  |  |  | 2022-08-04
Easee | Easee Charge |  |  | ● |  |  |  | 2022-08-04
Easee | Easee One |  |  | ● |  |  |  | 2022-08-04
ebee Smart Technologies | Ladepunkt Berlin 22 kW | CPB3230 | ✓ |  | ✓ | ✓ | 5.20.3-13062 | 2021-07-28
ebee Smart Technologies | Ladepunkt Berlin 11 kW | CPB1630 | ✓ |  | ✓ | ✓ | 5.20.3-13062 | 2021-07-28
ebee Smart Technologies | Ladepunkt Berlin 3,7 kW | CPB1610 | ✓ |  | ✓ | ✓ | 5.20.3-13062 | 2021-07-28
eCharge Hardy Barth | cPH1* | 3M221XX | ✓ |  |  |  | 1.24.0 | 2020-08-14
eCharge Hardy Barth | cPP1 2T22 | 3M141XX | ✓ |  |  |  | 1.24.0
eCharge Hardy Barth | cPP1 2T44 | 3M144XX | ✓ |  |  |  | 1.24.0
eCharge Hardy Barth | cPP1 4T44 | 3M184XX | ✓ |  |  |  | 1.24.0
eCharge Hardy Barth | cPP1 4T44 | 3M194XX | ✓ |  |  |  | 1.24.0
eCharge Hardy Barth | Moon Connect 1T22 | 3M808 | ✓ |  |  |  | 1.24.0
eCharge Hardy Barth | Moon Connect 2T44 | 3M805 | ✓ |  |  |  | 1.24.0
eCharge Hardy Barth | Moon Connect 1T22 | 3M802 | ✓ |  |  |  | 1.24.0
eCharge Hardy Barth | Moon Connect 2T44 | 3M807 | ✓ |  |  |  | 1.24.0
eCharge Hardy Barth | Ecotap / Legrand | Duo* | * | ✓ |  |  | ✓ | 506.32R.27
eCharge Hardy Barth |  | Homebox* | 785040 | ✓ |  |  | ✓ | 506.32R.27
eCharge Hardy Barth |  | CSA controller |  | ✓ |  |  | ✓ | 506.32R.30
EFACEC | PCG3 | * | ✓ |  |  | ✓ | PCG3
EFACEC | QC45 | * | ✓ |  | ✓ | ✓ | QC45_N_MSC64_1.6w_7.3.56_full
Ekoenergetyka | Axon Fx 100 | QP-614 | ✓ |  |  |  | c1.2.0i1.10.0u2.1.3m0.4.1x0.12.2o4.9.0hCLC2
Ekoenergetyka | Axon Fx 50 | QP-614 | ✓ |  |  |  | c1.2.0i1.10.0u2.1.3m0.4.1x0.12.2o4.9.0hCLC2
Elinta Charge | CityCharge V2 |  | ✓ |  |  | ✓ | 3.3.2.3 | 2022-07-15
Elinta Charge | CityCharge Mini2 |  | ✓ |  |  | ✓ | 3.3.2.3 | 2022-07-15
Elinta Charge | Homebox Slim |  | ✓ |  |  | ✓ | 3.3.2.3 | 2022-07-15
Elinta Charge | Homebox Lite |  | ✓ |  |  | ✓ | 3.3.2.3 | 2022-07-15
EnerCharge | EC500 | EC500 | ✓ |  |  | ✓ | 0.1.3.36 | 2024-01-18
EnerCharge | ECC320 | ECC320 | ✓ |  |  | ✓ | 0.1.3.36 | 2024-01-18
EnerCharge | LRM16 | LRM16 | ✓ |  |  | ✓ | 0.1.3.36 | 2024-01-18
EnerCharge | LRM17 | LRM17 | ✓ |  |  | ✓ | 0.1.3.36 | 2024-01-18
Ensto | EVB* / EVF* series | EVB* | ✓ |  |  | ✓ | 5.30.1-16033 | 2023-05-02
Ensto |  | EVF*
Ensto | MEDIA | MEDIA | ✓ |  |  | ✓ | 5.30.1-16033 | 2023-05-02
Entratek GmbH (Third Place Energy B.V.) | Power Capsule* | PCXX-2CX06-UXXN | ✓ |  |  |  | 20200102 | 2020-08-03
Entratek GmbH (Third Place Energy B.V.) | Power Bay* | PBXX-06CSCS2020-UXXN | ✓ |  |  |  | 20200102 | 2020-08-03
Etrel | INCH PRO | G-PC1xxxxxx | ✓ |  |  | ✓ | 3.0.4 | 2021-09-20
Etrel | INCH Home | G-HB1xxxxxx | ✓ |  |  | ✓ | 3.0.4 | 2021-09-20
Etrel | INCH DUO | G-DC3xxxxxx-xxx | ✓ |  |  | ✓ | 3.0.4 | 2021-09-20
Etrel | INCH PRO (cable attached) | G-PC1Vxxxxx | ✓ |  |  | ✓ | 3.0.4 | 2021-09-20
Etrel | INCH Home (cable attached) | G-HB1Vxxxxx | ✓ |  |  | ✓ | 3.0.4 | 2021-09-20
EVBox | Ultroniq V2 | DC16-412-121-111 | ✓ |  |  |  | V3.1.0r24a
EVBox | Ultroniq V2 | (eichrecht version)
EVBox | Ultroinq V1 | DC12-41-1-11 | ✓ |  |  |  | V2.0.2.1
EVBox | Troniq 50 | DC01-421-111-21 | ✓ |  |  |  | V3.4.2
EVBox | Troniq Modular | DC18-221-814-311 | ✓ |  | ✓ |  | V4.4.3
EVBox | Troniq High Power | DC18-771-J14-313 | ✓ |  |  |  | V4.4.3
Free2Move eSolutions | eProWallbox | F2ME.EPROSC00FXX |  | ● |  | ✓ | 37713 | 2023-03-15
Free2Move eSolutions | eProWallbox | F2ME.EPROSC00FX7 |  | ● |  | ✓ | 37713 | 2023-03-15
Free2Move eSolutions | eProWallbox | F2ME.EPROSC00FX1 |  | ● |  | ✓ | 37713 | 2023-03-15
Free2Move eSolutions | eProWallbox | F2ME.EPROTC00FXX |  | ● |  | ✓ | 37713 | 2023-03-15
Free2Move eSolutions | eProWallbox Move | F2ME.EPROSE00FXX |  | ● |  | ✓ | 37713 | 2023-03-15
Free2Move eSolutions | eProWallbox Move | F2ME.EPROSE00FX1 |  | ● |  | ✓ | 37713 | 2023-03-15
Free2Move eSolutions | eProWallbox Move | F2ME.EPROSE00FX7 |  | ● |  | ✓ | 37713 | 2023-03-15
Free2Move eSolutions | eProWallbox Move | F2ME.EPROTE00FXX |  | ● |  | ✓ | 37713 | 2023-03-15
Garo AB | LS4 |  | ✓ |  | ✓ | ✓ | 5.20.5-13170 | 2022-08-04
Garo AB | GLB | 3534** | ✓ |  |  | ✓ | 5.20.5-13170 | 2022-08-04
Garo AB | ALTHEA | 353674 | ✓ |  |  |  | 39142 | 2022-08-04
Garo AB | Entity Pro |  | ✓ |  |  | ✓ | 37105 | 2024-08-29
Garo AB | Hager Energy
Garo AB | LLM | XEM520 | ✓ |  |  | ✓ | * | 2023-06-19
Garo AB | EVCS witty share 1x22kW 3P T2 RFID | XEV1R22T2* | ✓ |  |  | ✓ | v21.01.05-Zr-RC08-0-gfb52c8a3 | 2021-03-24
Garo AB | EVCS witty park 2x22kW 3P T2 RFID | XEV2R22T2 | ✓ |  |  | ✓ | v21.01.05-Zr-RC08-0-gfb52c8a3 | 2021-03-24
Garo AB | EVCS witty park 2x22kW 3P T2 +TF RFID | XEV2R22T2TF | ✓ |  |  | ✓ | v21.01.05-Zr-RC08-0-gfb52c8a3 | 2021-03-24
Garo AB | witty park | XEV6**C | ✓ |  |  | ✓ | 6.0.2.0 | 22.03.2023
Gewiss | I-Fast |  | ✓ |  | ✓ | ✓ | V4.07.M0 | 29.10. .2024
Heidelberger | Heidelberg Combox | 00.779.2913 | ✓ |  |  |  | combox-v-0.2.12-dev
HELLO NEXT | H1 22 | 1 | ✓ |  |  | ✓ | B0.62.20.1221.P0 | 2022-01-16
HELLO NEXT | H2 30 | 3 | ✓ |  |  | ✓ | V2.06.08.5601.PH | 2022-12-21
HELLO NEXT | H2 30M | 3 | ✓ |  |  | ✓ | V2.06.08.5601.PH | 2022-12-21
HELLO NEXT | H2 60 | 4 | ✓ |  |  | ✓ | V2.06.08.5601.PH | 2022-12-21
HELLO NEXT | H2 90 | 5 | ✓ |  |  | ✓ | V2.06.08.5601.PH | 2022-12-21
HELLO NEXT | H2 120 | 6 | ✓ |  |  | ✓ | V2.06.08.5601.PH | 2022-12-21
HELLO NEXT | H2 150 | 7 | ✓ |  |  | ✓ | V2.06.08.5601.PH | 2022-12-21
HELLO NEXT | H2 180 | 8 | ✓ |  |  | ✓ | V2.06.08.5601.PH | 2022-12-21
HELLO NEXT | H2 360 | 9 | ✓ |  |  | ✓ | V2.06.08.5601.PH | 2022-12-21
Hummel Systemhaus | Revolution E Spro100 1x22kW Typ2 with attached cable | 45001017 | ✓ |  | ✓ | ✓ | 5.20.0-12975 | 2021-07-07
Hummel Systemhaus | Revolution E Spro100 1x22kW Typ2 with socket | 45001010 | ✓ |  | ✓ | ✓ | 5.20.0-12975 | 2021-07-07
Hummel Systemhaus | Revolution E Spro100 1x43kW Typ2 with attached cable | 45001017 | ✓ |  | ✓ | ✓ | 5.20.0-12975 | 2021-07-07
Hummel Systemhaus | Revolution E Spro100 1x43kW Typ2 with socket | 45001010 | ✓ |  | ✓ | ✓ | 5.20.0-12975 | 2021-07-07
Hummel Systemhaus | Revolution E Spro200 2x22kW Typ2 with attached cable | 45001019 | ✓ |  | ✓ | ✓ | 5.20.0-12975 | 2021-07-07
Hummel Systemhaus | Revolution E Spro200 2x22kW Typ2 with socket | 45001020 | ✓ |  | ✓ | ✓ | 5.20.0-12975 | 2021-07-07
Hummel Systemhaus | Revolution E SproWallbox 1x22kW Typ2 with attached cable | 45001038 | ✓ |  | ✓ | ✓ | 5.20.0-12975 | 2021-07-07
Hummel Systemhaus | Revolution E SproWallbox 1x22kW Typ2 with socket | 45001039 | ✓ |  | ✓ | ✓ | 5.20.0-12975 | 2021-07-07
Hummel Systemhaus | Revolution E SproWallbox 1x43kW Typ2 with attached cable | 45001038 | ✓ |  | ✓ | ✓ | 5.20.0-12975 | 2021-07-07
Hummel Systemhaus | Revolution E SproWallbox 1x43kW Typ2 with socket | 45001039 | ✓ |  | ✓ | ✓ | 5.20.0-12975 | 2021-07-07
Hummel Systemhaus | Revolution E Rpro100 1x22kW Typ2 with attached cable | 45001001 | ✓ |  | ✓ | ✓ | 5.20.0-12975 | 2021-07-07
Hummel Systemhaus | Revolution E Rpro100 1x22kW Typ2 with socket | 45001002 | ✓ |  | ✓ | ✓ | 5.20.0-12975 | 2021-07-07
Hummel Systemhaus | Revolution E Rpro200 2x22kW Typ2 with attached cable | 45001003 | ✓ |  | ✓ | ✓ | 5.20.0-12975 | 2021-07-07
Hummel Systemhaus | Revolution E Rpro200 2x22kW Typ2 with socket | 45001004 | ✓ |  | ✓ | ✓ | 5.20.0-12975 | 2021-07-07
Hummel Systemhaus | Revolution E Epro200 2x22kW Typ2 with socket | 45001083 | ✓ |  | ✓ | ✓ | 5.20.0-12975 | 2021-07-07
Hummel Systemhaus | Revolution E Epro Wall 1x22kW Typ2 with socket | 45001084 | ✓ |  | ✓ | ✓ | 5.20.0-12975 | 2021-07-07
Hummel Systemhaus | Revolution E GLB+ Wallbox 1x22kW Typ2 with socket | 45001108 | ✓ |  | ✓ | ✓ | 5.20.0-12975 | 2021-07-07
Hummel Systemhaus | Revolution E GLB+ Wallbox 1x22kW with attached cable | 45001109 | ✓ |  | ✓ | ✓ | 5.20.0-12975 | 2021-07-07
IES Synergy | KEYWATT 24 Wallbox Single / CCS2 (Model : wallbox G3 CCS) | WBG3 24KW 530/65 STD 2 3P+N | ✓ |  |  | ✓ | 22PRO017362_V020.730 | 2021-10-06
IES Synergy | KEYWATT 24 Wallbox Single / CHAdeMO (Model : wallbox G3 CHA) | WBG3 24KW 500/65 STD 3 3P+N | ✓ |  |  | ✓ | 22PRO017362_V020.730 | 2021-10-06
IES Synergy | KEYWATT 24 Wallbox Dual (Model : wallbox G3X dual) | WBG3 B 24KW 530/65 STD 2 3P+N | ✓ |  |  | ✓ | 22PRO017362_V020.730 | 2021-10-06
IES Synergy | KEYWATT 24 Wallbox Multi (Model : wallbox G3X tri) | WBG3 X 24KW 530/65 STD 2 3P+N | ✓ |  |  | ✓ | 22PRO017362_V020.730 | 2021-10-06
IES Synergy | KEYWATT 24 Station Multi (Model : station 24k) | STX 24KW 530/65 STD 2 3P+N | ✓ |  |  | ✓ | 22PRO017362_V020.730 | 2021-10-06
IES Synergy | KEYWATT 50 Station Single (Model : keywatt 50 CCS) | KEYWATT50 STD 2 | ✓ |  |  | ✓ | 22PRO017362_V020.730 | 2021-10-06
IES Synergy | KEYWATT 50 Station Dual (Model : keywatt 50X dual) | KEYWATT50 B STD 2 | ✓ |  |  | ✓ | 22PRO017362_V020.730 | 2021-10-06
IES Synergy | KEYWATT 50 Station Multi (Model : keywatt 50X tri) | KEYWATT50 X 22KVA STD 2 | ✓ |  |  | ✓ | 22PRO017362_V020.730 | 2021-10-06
IES Synergy | KEYWATT 50 Station Multi ETP (Model : keywatt 50X tri 43k) | KEYWATT50 X 43KVA STD 2 | ✓ |  |  | ✓ | 22PRO017362_V020.730 | 2021-10-06
IES Synergy | KEYWATT 50 Bus (Model : station 50k) | STATION G2 50kW 800/75 BUS 4M | ✓ |  |  | ✓ | 22PRO017362_V020.730 | 2021-10-06
IES Synergy | KEYWATT 100 Bus (Model : station 100k) | TATION G2 100kW 800/150 BUS 4M | ✓ |  |  | ✓ | 22PRO017362_V020.730 | 2021-10-06
INGETEAM | INGEREV FUSION WALL Three-phase | FW3MW-C2C2 | ✓ |  |  | ✓ | 44534 | 2022-10-28
INGETEAM | INGEREV FUSION WALL Three-phase | FW3MW-S2S2 | ✓ |  |  | ✓ | 44534 | 2022-10-28
INGETEAM | INGEREV FUSION WALL Three-phase | FW3MW-S2N7 | ✓ |  |  | ✓ | 44534 | 2022-10-28
INGETEAM | INGEREV FUSION WALL Three-phase | FW3MW-S2S5 | ✓ |  |  | ✓ | 44534 | 2022-10-28
INGETEAM | INGEREV FUSION STREET Single-phase | FS1MW-N2N2 | ✓ |  |  | ✓ | 44534 | 2022-10-28
INGETEAM | INGEREV FUSION STREET Single-phase | FS1MW-C2C2 | ✓ |  |  | ✓ | 44534 | 2022-10-28
INGETEAM | INGEREV FUSION STREET Single-phase | FS1MW-S2S2 | ✓ |  |  | ✓ | 44534 | 2022-10-28
INGETEAM | INGEREV FUSION STREET Single-phase | FS1MW-S2N7 | ✓ |  |  | ✓ | 44534 | 2022-10-28
INGETEAM | INGEREV FUSION STREET Single-phase | FS1MW-S2S5 | ✓ |  |  | ✓ | 44534 | 2022-10-28
INGETEAM | INGEREV FUSION STREET Three-phase | FS3MW-N2N2 | ✓ |  |  | ✓ | 44534 | 2022-10-28
INGETEAM | INGEREV FUSION STREET Three-phase | FS3MW-C2C2 | ✓ |  |  | ✓ | 44534 | 2022-10-28
INGETEAM | INGEREV FUSION STREET Three-phase | FS3MW-S2S2 | ✓ |  |  | ✓ | 44534 | 2022-10-28
INGETEAM | INGEREV FUSION STREET Three-phase | FS3MW-S2N7 | ✓ |  |  | ✓ | 44534 | 2022-10-28
INGETEAM | INGEREV FUSION STREET Three-phase | FS3MW-S2S5 | ✓ |  |  | ✓ | 44534 | 2022-10-28
INGETEAM | INGEREV RAPID 50 Trio | RTM50 | ✓ |  |  | ✓ | 44531 | 2021-12-01
INGETEAM | INGEREV RAPID 50 Duo | RDM50 | ✓ |  |  | ✓ | 44531 | 2021-12-01
INGETEAM | INGEREV RAPID 50 One | ROM50 | ✓ |  |  | ✓ | 44531 | 2021-12-01
INGETEAM | INGEREV RAPID 50 One+ | RCM50 | ✓ |  |  | ✓ | 44531 | 2021-12-01
INGETEAM | INGEREV RAPID 50 Trio ACS | RSM50 | ✓ |  |  | ✓ | 44531 | 2021-12-01
INGETEAM | INGEREV RAPID 50 One+ ACS | RKM50 | ✓ |  |  | ✓ | 44531 | 2021-12-01
Innogy / Compleo | eBox professional socket | n.a. | ✓ |  | ✓ |  | 1.2.5.tar.gz.enc.sign | 2021-01-18
Innogy / Compleo | eBox professional cable | n.a. | ✓ |  | ✓ |  | 1.2.5.tar.gz.enc.sign | 2021-01-18
Innogy / Compleo | eBox smart socket | n.a. | ✓ |  | ✓ |  | 1.2.5.tar.gz.enc.sign | 2021-01-18
Innogy / Compleo | eBox smart cable | n.a. | ✓ |  | ✓ |  | 1.2.5.tar.gz.enc.sign | 2021-01-18
Innogy / Compleo | eBox touch socket | n.a. | ✓ |  | ✓ |  | 1.2.5.tar.gz.enc.sign | 2021-01-18
Innogy / Compleo | eBox touch cable | n.a. | ✓ |  | ✓ |  | 1.2.5.tar.gz.enc.sign | 2021-01-18
KEBA | x-series * | * | ✓ |  | ✓ | ✓ | 45962 | 2023-03-17
KEBA | M20 | * | ✓ |  |  | ✓ | 1.15.000 | 2023-08-02
Kempower Oy | C-Series - Charging Power Unit, Single Cabinet, 50-200 kW, 500 V | C501PxxxNxx | ✓ |  |  | ✓ | v0.17.320 | 2021-07-14
Kempower Oy | C-Series - Charging Power Unit, Dual Cabinet, 50-400 kW, 500 V | C502PxxxNxx | ✓ |  |  | ✓ | v0.17.320 | 2021-07-14
Kempower Oy | C-Series - Charging Power Unit, Triple Cabinet, 50-600 kW, 500 V | C503PxxxNxx | ✓ |  |  | ✓ | v0.17.320 | 2021-07-14
Kempower Oy | C-Series - Charging Power Unit, Single Cabinet, 40-160 kW, 800 V | C801PxxxNxx | ✓ |  |  | ✓ | v0.17.320 | 2021-07-14
Kempower Oy | C-Series - Charging Power Unit, Dual Cabinet, 40-320 kW, 800 V | C802PxxxNxx | ✓ |  |  | ✓ | v0.17.320 | 2021-07-14
Kempower Oy | C-Series - Charging Power Unit, Triple Cabinet, 40-480 kW, 800 V | C803PxxxNxx | ✓ |  |  | ✓ | v0.17.320 | 2021-07-14
Kempower Oy | C-Station - 1-2x CCS1, CCS2 or CHAdeMO connector(s), 50-200 kW, 500 V | C501Pxxxxxxx | ✓ |  |  | ✓ | v0.17.320 | 2021-07-14
Kempower Oy | C-Station - 1-2x CCS1, CCS2 or CHAdeMO connector(s), 1-2 Charging Power Unit Cabinets, 50-400 kW | C502Pxxxxxxx | ✓ |  |  | ✓ | v0.17.320 | 2021-07-14
Kempower Oy | C-Station - 1-2x CCS1, CCS2 or CHAdeMO connector(s), 1-2 Charging Power Unit Cabinets, 40-160 kW | C801Pxxxxxxx | ✓ |  |  | ✓ | v0.17.320 | 2021-07-14
Kempower Oy | C-Station - 1-2x CCS1, CCS2 or CHAdeMO connector(s), 1-2 Charging Power Unit Cabinets, 40-320 kW | C802Pxxxxxxx | ✓ |  |  | ✓ | v0.17.320 | 2021-07-14
Kempower Oy | S-Series - 1-2x CCS1, CCS2 or CHAdeMO connector(s) or Type2 socket(s) per satellite | Sxxxxx | ✓ |  |  | ✓ | v0.17.320 | 2021-07-14
Kempower Oy | T-series - 1-2x CCS1, CCS2 or CHAdeMO connector(s) or Type2 socket(s), 50 kW, 500 V | T500P40xxxxx | ✓ |  |  | ✓ | v0.17.320 | 2021-07-14
Kempower Oy | T-series - 1-2x CCS1, CCS2 or CHAdeMO connector(s) or Type2 socket(s), 40 kW, 800 V | T800P40xxxxx | ✓ |  |  | ✓ | v0.17.320 | 2021-07-14
Kostad | Unity20 | n.a. |  | ● |  |  | 0,8.3 | 2021-09-08
Kostad | Unity50 | n.a. |  | ● |  |  | 0.8.3 | 2021-09-08
Kostad | Unity60 | n.a. |  | ● |  |  | 0,8.4 | 2023-09-04
Kostad | Unity90 | n.a. |  | ● |  |  | 0.8.4 | 2023-09-04
Kostad | Unity120 | n.a. |  | ● |  |  | 0,8.5 | 2023-09-04
Kostad | Unity150 | n.a. |  | ● |  |  | 0.8.5 | 2023-09-04
Kostad | Unity180 | n.a. |  | ● |  |  | 0,8.6 | 2023-09-04
Kostad | Unity300 | n.a. |  | ● |  |  | 0.8.6 | 2023-09-04
Kreisel Electric GmbH | CHIMERO |  | ✓ |  | ✓ | ✓ | v2.9.1 | 2023-08-02
Loxone | Wallbox 11kW 16A Tree |  |  | ✓ |  | ✓ | 1.1.0 | 05.09.2024
Loxone | Wallbox 11kW 16A Air |  |  | ✓ |  | ✓ | 1.1.0 | 05.09.2024
Loxone | Wallbox 7.4kW 32A Tree |  |  | ✓ |  | ✓ | 1.1.0 | 05.09.2024
Loxone | Wallbox 7.4kW 32A Air |  |  | ✓ |  | ✓ | 1.1.0 | 05.09.2024
MAGNUM CAP | MCCWB-MS |  | ✓ |  |  | ✓ | NCR‐2116‐1.12‐0 | 2023-01-19
MAGNUM CAP | MC QCA150 |  | ✓ |  |  | ✓ | MC‐QCK‐2.0‐1 | 2023-01-19
MC-Chargers | Orion 22CS(B) | MC-10222ST2CA03W | ✓ |  |  | ✓ | V46.129 | 2023-04-23
MC-Chargers | Orion 22CG(B) | MC-10222GT2CA03W | ✓ |  |  | ✓ | V46.129 | 2023-04-23
MENNEKES | Amtron* | * | ✓ |  | ✓ | ✓ |  | 2020-12-16
MENNEKES | Amedio* | * | ✓ |  | ✓ | ✓ |  | 2020-12-16
MENNEKES | Ladesäule Premium 22 / S 22 | 313* | ✓ |  | ✓ | ✓ |  | 2022-09-13
MENNEKES | Ladesäule Premium 22 / S22 | 1313* | ✓ |  | ✓ | ✓ |  | 2022-09-13
MENNEKES | Ladesäule Smart 22 / S22 / N22 / SN22 /SN22 /T22 | 319* | ✓ |  | ✓ | ✓ |  | 2022-09-13
MENNEKES | Ladesäule Smart 22 / S22 / N22 / SN22 /SN22 /T22 | 1319* | ✓ |  | ✓ | ✓ |  | 2022-09-13
MENNEKES | Smart | 316* | ✓ |  | ✓ | ✓ | 3567 | 2022-09-13
PC Electric | Charger LS4 2x3,7kW AC-1p 230V/2x16A 2xTyp2 FI(A) + kWh + LAN + RFID | 352879 | ✓ |  |  | ✓ | 4.53-5466 | 2022-08-04
PC Electric | Charger LS4 2x3,7kW AC-1p 230V/2x16A 2xTyp2 FI(A) + kWh + 3G + RFID | 352881 | ✓ |  |  | ✓ | 4.53-5466 | 2022-08-04
PC Electric | Charger LS4 2x7,4kW AC-1p 230V/2x32A 2xTyp2 FI(A) + kWh + LAN + RFID | 352880 | ✓ |  |  | ✓ | 4.53-5466 | 2022-08-04
PC Electric | Charger LS4 2x7,4kW AC-1p 230V/2x32A 2xTyp2 FI(A) + kWh + 3G + RFID | 352882 | ✓ |  |  | ✓ | 4.53-5466 | 2022-08-04
PC Electric | Charger LS4 2x11kW AC-3p 400V/2x16A 2xTyp2 FI(A) + kWh + LAN + RFID | 352828 | ✓ |  |  | ✓ | 4.53-5466 | 2022-08-04
PC Electric | Charger LS4 2x11kW AC-3p 400V/2x16A 2xTyp2 FI(A) + kWh + 3G + RFID | 352830 | ✓ |  |  | ✓ | 4.53-5466 | 2022-08-04
PC Electric | Charger LS4 2x22kW AC-3p 400V/2x32A 2xTyp2 FI(A) + kWh + LAN + RFID | 352829 | ✓ |  |  | ✓ | 4.53-5466 | 2022-08-04
PC Electric | Charger LS4 2x22kW AC-3p 400V/2x32A 2xTyp2 FI(A) + kWh + 3G + RFID | 352831 | ✓ |  |  | ✓ | 4.53-5466 | 2022-08-04
PC Electric | Charger LS4 2x22kW AC-3p 400V/2x32A 2xTyp2 FI(A+DC) + kWh + LAN + RFID | 353054 | ✓ |  |  | ✓ | 4.53-5466 | 2022-08-04
PC Electric | Charger LS4 2x22kW AC-3p 400V/2x32A 2xTyp2 FI(A+DC) + kWh + 3G + RFID | 353053 | ✓ |  |  | ✓ | 4.53-5466 | 2022-08-04
PC Electric | Charger LS4 Compact 2x11kW AC-3p 400V/2x16A 2xTyp2 FI(A+DC) + kWh + LAN + RFID | 353062 | ✓ |  |  | ✓ | 4.53-5466 | 2022-08-04
PC Electric | Charger LS4 Compact 2x11kW AC-3p 400V/2x16A 2xTyp2 FI(A+DC) + kWh + 3G + RFID | 353066 | ✓ |  |  | ✓ | 4.53-5466 | 2022-08-04
PC Electric | Charger LS4 Compact 2x22kW AC-3p 400V/2x32A 2xTyp2 FI(A+DC) + kWh + LAN + RFID | 353063 | ✓ |  |  | ✓ | 4.53-5466 | 2022-08-04
PC Electric | Charger LS4 Compact 2x22kW AC-3p 400V/2x32A 2xTyp2 FI(A+DC) + kWh + 3G + RFID | 353067 | ✓ |  |  | ✓ | 4.53-5466 | 2022-08-04
PC Electric | Wallbox PCE GLB+DC Typ2FC22kW LAN Z RFID | 353456P | ✓ |  |  | ✓ | 4.53-5466 | 2022-08-04
PC Electric | Wallbox PCE GLB+DC Typ2DO22kW LAN Z RFID | 353457P | ✓ |  |  | ✓ | 4.53-5466 | 2022-08-04
PC Electric | Wallbox PCE GLB+DC Typ2FC22kW 4G Z RFID | 353462P | ✓ |  |  | ✓ | 4.53-5466 | 2022-08-04
PC Electric | Wallbox PCE GLB+DC Typ2DO22kW 4G Z RFID | 353463P | ✓ |  |  | ✓ | 4.53-5466 | 2022-08-04
PowerX | Hypercharger Standard | SG001 |  | ● |  | ✓ | n.a. | 2023-06-29
Scame Parre S.p.a | Wallbox BE-W | 205.W51-B0 |  | ● |  |  | 1.3.14 & 1.4.0 | 2022-01-05
Schneider Electric SE | EVlink Smart Wallbox |  | ✓ |  |  | ✓ | 3.4.0.6 | 2023-02-21
Schneider Electric SE | EVlink Parking |  | ✓ |  |  | ✓ | 3.4.0.6 | 2023-02-21
Schneider Electric SE | EVlink Pro AC |  | ✓ |  | ✓ | ✓ | 1.2.2.0 | 2023-02-21
Schneider Electric SE | EVlink Pro DC |  | ✓ |  |  | ✓ | 41700 | 2023-12-07
Schrack Technik | i-CHARGE Mini Online 22kW | EMPUBM16O |  |  |  |  | V1.19.7 | 2021-05-31
Schrack Technik | i-CHARGE Public 200 Online 22kW Schuko | EMPUB026O |  |  |  |  | V1.19.7 | 2021-05-31
Schrack Technik | i-CHARGE Public 200 Online 2x11kW | EMPUB027O |  |  |  |  | V1.19.7 | 2021-05-31
Schrack Technik | i-CHARGE Public 400 Online 2x22kW | EMPUB129O |  |  |  |  | V1.19.7 | 2021-05-31
Schrack Technik | i-CHARGE Public 400 Online 2x22kW 2xSchuko | EMPUB1414O |  |  |  |  | V1.19.7 | 2021-05-31
Schrack Technik | i-CHARGE Public 2 Online 22kW Schuko | EMPUB226O |  |  |  |  | V1.19.7 | 2021-05-31
Schrack Technik | i-CHARGE Public 2 Online 2x11kW | EMPUB227O |  |  |  |  | V1.19.7 | 2021-05-31
Schrack Technik | i-CHARGE Public 2 Online 2x22kW | EMPUB229O |  |  |  |  | V1.19.7 | 2021-05-31
Schrack Technik | i-CHARGE Public 2 Online 2x22kW 2xSchuko | EMPUB2414O |  |  |  |  | V1.19.7 | 2021-05-31
Schrack Technik | i-CHARGE PUBLIC 200 44kW | EMPUB019O |  |  |  |  | V1.19.7 | 2021-05-31
Schrack Technik | i-CHARGE PUBLIC 200 2x22kW | EMPUB029O |  |  |  |  | V1.19.7 | 2021-05-31
Schrack Technik | i-CHARGE PUBLIC Wall 2 22kW/Schuko | EMPUBW226O |  |  |  |  | V1.19.7 | 2021-05-31
Schrack Technik | i-CHARGE PUBLIC Wall 2 2x22kW | EMPUBW229O |  |  |  |  | V1.19.7 | 2021-05-31
Schrack Technik | i-CHARGE CION 22kW | EMCIONS2PO |  |  |  |  | V1.19.7 | 2022-08-30
Schrack Technik | i-CHARGE CION 22kW | EMCIONS2CO |  |  |  |  | V1.19.8 | 2022-08-30
Schrack Technik | i-CHARGE CION 11kW | EMCIONS1CO |  |  |  |  | V1.19.9 | 2022-08-30
Schrack Technik | i-CHARGE CION Pro | EMCIONP2PO | ✓ |  | ✓ | ✓ | 5.33.1-20092 | 07.10.2024
Schrack Technik | i-CHARGE CION Pro | EMCIONP2PE | ✓ |  | ✓ | ✓ | 5.33.1-20092 | 07.10.2024
Schrack Technik | i-CHARGE CION Pro | EMCIONP2CO | ✓ |  | ✓ | ✓ | 5.33.1-20092 | 07.10.2024
Schrack Technik | i-CHARGE CION Pro | EMCIONP2CE | ✓ |  | ✓ | ✓ | 5.33.1-20092 | 07.10.2024
Shindengen | EV Quick Charger - SDQC2F | SDQC2F90XT4415ーM | ✓ |  |  | ✓ | 20220217 | 03.08.2022
Siemens | SICHARGE D | 8EM5000 | ✓ |  | ✓ | ✓ | v2.5.4-0-g233b780 | 2022-08-03
Siemens | VersiCharge | 8EM13 | ✓ |  |  | ✓ | 2.116:2.116:1.08:0.20:0.26 | 2022-08-03
smopi® | smopi® - Die Ladeschranklösung | LSID10LP | ✓ |  | ✓ |  | V3.5.6 | 2021-07-26
SPIE EPH GmbH | Wallbox 11/22 kW | n.a. | ✓ |  |  | ✓ | 5.13. | 2021-06-04
SPIE EPH GmbH | Ladesäule 2x 11/22 kW | n.a. | ✓ |  |  | ✓ | 5.13. | 2021-06-04
Star Charge Europe | Titan 180 Premium | DH-DC1800SG56-D | ✓ |  |  | ✓ | 1.3.0.2.2 | 2022-01-02
Star Charge Europe | Jupiter 60 | DH-DC0600SG58-F | ✓ |  |  | ✓ | 1.5.1.6.9b208 | 2022-01-02
Star Charge Europe | Venus | DH-DC0300HG57 |  | ✓ |  |  | 1.2.0.4.0b118 | 2021-10-20
Star Charge Europe | Aurora with MID | DH-AC0110XG70 |  | ✓ |  |  | 1.0.0.0.2b103 | 2021-09-23
Technagon | TE-P5 EU | n.a. | ✓ |  | ✓ |  | V65 | 2021-05-03
Technagon | TE-P5 ERK | n.a. | ✓ |  | ✓ |  | V65 | 2021-05-03
Technagon | TE-P7 EU | n.a. | ✓ |  | ✓ |  | V65 | 2021-05-03
Technagon | TE-P7 ERK | n.a. | ✓ |  | ✓ |  | V65 | 2021-05-03
Technagon | TE-P7 ERK HAK | n.a. | ✓ |  | ✓ |  | V65 | 2021-05-03
Technagon | TE-P46 EU | n.a. | ✓ |  | ✓ |  | V65 | 2021-05-03
Technagon | TE-P46 ERK | n.a. | ✓ |  | ✓ |  | V65 | 2021-05-03
Technisat | TECHNIVOLT 1100 SMART | 0000/6301 | ✓ |  |  | ✓ | 5.20.4-13427 | 2022-08-23
Technisat | TECHNIVOLT 2200 SMART | 0000/6302 | ✓ |  |  | ✓ | 5.20.4-13427 | 2022-08-23
Tritium | Veefil Dual 50kW |  | ✓ |  |  |  | ✓ | 2021-01-27
Tritium | Veefil Triple 50kW |  | ✓ |  |  |  | ✓ | 2021-01-27
Tritium | Veefil-UT |  | ✓ |  |  |  | ✓ | 2021-01-27
uesa EA Ladesysteme GmbH | LS-E-2AC-* | 111*-60.4000.30-* | ✓ |  |  | ✓ | 5.20.5-13170 | 2022-12-05
uesa EA Ladesysteme GmbH | LS-E-2AC-* | 111*-60.4400.30-* | ✓ |  |  | ✓ | 5.20.5-13170 | 2022-12-05
uesa EA Ladesysteme GmbH | LP-1AC-* | 3512-*0.4000.* | ✓ |  |  | ✓ | 5.20.5-13170 | 2022-12-05
uesa EA Ladesysteme GmbH | LP-2AC-* | 3512-*0.4000.* | ✓ |  |  | ✓ | 5.20.5-13170 | 2022-12-05
uesa EA Ladesysteme GmbH | WB-1AC-* | 5612-10.3000.* | ✓ |  |  | ✓ | 5.20.5-13170 | 2022-12-05
uesa EA Ladesysteme GmbH | WB-2AC-* | 5712-60.3300.* | ✓ |  |  | ✓ | 5.20.5-13170 | 2022-12-05
Vestel | EVC04-AC11SW-T2P | 10130951 | ✓ |  |  | ✓ | v2.47 | 2021-08-31
Vestel | EVC04-AC11SWA-T2P | 10132278 | ✓ |  |  | ✓ | v2.47 | 2021-08-31
Vestel | EVC04-AC11SWA-T2P7 | 10132876 | ✓ |  |  | ✓ | v2.47 | 2021-08-31
Vestel | EVC04-AC22SW | 10127502 | ✓ |  |  | ✓ | v2.47 | 2021-08-31
Vestel | EVC04-AC22SW-T2P | 10127503 | ✓ |  |  | ✓ | v2.47 | 2021-08-31
Vestel | EVC04 EBOX AC11-SMART-SUW | 10130952 | ✓ |  |  | ✓ | v2.47 | 2021-08-31
Vestel | EVC04 EBOX AC11K-SMART-SUW | 10130954 | ✓ |  |  | ✓ | v2.47 | 2021-08-31
Vestel | EVC04-AC22SLDA | 10132224 | ✓ |  |  | ✓ | v2.47 | 2021-08-31
Vestel | EVC04-AC22SLDA-T2P | 10132225 | ✓ |  |  | ✓ | v2.47 | 2021-08-31
Vestel | EVC04-AC22SLDMID | 10132222 | ✓ |  |  | ✓ | v2.47 | 2021-08-31
Vestel | EVC04-AC22SLDMID-T2P | 10132223 | ✓ |  |  | ✓ | v2.47 | 2021-08-31
Vestel | EVC04-AC22SWDMID | n.a. | ✓ |  |  | ✓ | v2.47 | 2021-08-31
Vestel | EVC04-AC22SWDMID-T2P | n.a. | ✓ |  |  | ✓ | v2.47 | 2021-08-31
Vestel | EVC04-AC11SWDMID | n.a. | ✓ |  |  | ✓ | v2.47 | 2021-08-31
Vestel | EVC04-AC11SWDMID-T2P | n.a. | ✓ |  |  | ✓ | v2.47 | 2021-08-31
Vestel | EVC04-AC11SLMID | n.a. | ✓ |  |  | ✓ | v2.47 | 2021-08-31
Vestel | EVC04-AC11SLMID-T2P | n.a. | ✓ |  |  | ✓ | v2.47 | 2021-08-31
Vestel | EVC04-AC22SLMID | n.a. | ✓ |  |  | ✓ | v2.47 | 2021-08-31
Vestel | EVC04-AC22SLMID-T2P | n.a. | ✓ |  |  | ✓ | v2.47 | 2021-08-31
Vestel | EVC04-AC7SWA | n.a. | ✓ |  |  | ✓ | v2.47 | 2021-08-31
Vestel | EVC04-AC22SWLDMID | n.a. | ✓ |  |  | ✓ | v2.47 | 2021-08-31
Volkswagen | Flexpole VW |  | ✓ |  | ✓ | ✓ | 4.1.X | 2023-12-19
VTS eCharge | Quantum Charger DC* | 2-1362-2* | ✓ |  | ✓ | ✓ | 1.0.1 | 2023-12-06
VTS eCharge | AC Charger Typ B/ Typ C | -1362-260* | ✓ |  | ✓ | ✓ | 37347 | 2023-12-06
Wall Box Chargers S.L | Copper SB | CPSB |  | ● |  |  | 42434 | 2021-09-22
Wall Box Chargers S.L | PulsarPlus | PLP1 |  | ● |  |  | 42434 | 2021-09-22
Wall Box Chargers S.L | Commander 2 | CMX2 |  | ● |  |  | 42434 | 2021-09-22
Wall Box Chargers S.L | Supernova | 8436575278605 |  | ● |  |  | 39661 | 02.11.2022
Walther-Werke | ECOLECTRA 600 T2+ | E5TI0BM560J0 | ✓ |  |  |  | wcs16j-santaro_19.09.10 | 2019-09-10
Walther-Werke | ECOLECTRA 250 M2+ | EFTK08M560H0 | ✓ |  |  |  | wcs16j-santaro_19.09.10 | 2019-09-10
Walther-Werke | ECOLECTRA 250 M1+ | EFVN08M570H0 | ✓ |  |  |  | wcs16j-santaro_19.09.10 | 2019-09-10
Walther-Werke | EVOLUTION 350 M2+ | E2TI07M560I0 | ✓ |  |  |  | wcs16j-santaro_19.09.10 | 2019-09-10
Walther-Werke | systemEVO M2+ | 98600102 | ✓ |  |  |  | wcs16j-santaro_19.09.10 | 2019-09-10
Walther-Werke | ECOLECTRA 600 T2 | E5TG0B5520J0 | ✓ |  |  |  | wcs16j-santaro_19.09.10 | 2019-09-10
Walther-Werke | ECOLECTRA 250 M2 | EFTL08M520H0 | ✓ |  |  |  | wcs16j-santaro_19.09.10 | 2019-09-10
Walther-Werke | EVOLUTION 350 M2 | E2TG07M520I0 | ✓ |  |  |  | wcs16j-santaro_19.09.10 | 2019-09-10
Walther-Werke | systemEVO M2 | 98600110 | ✓ |  |  |  | wcs16j-santaro_19.09.10 | 2019-09-10
Webasto | Unite MID | 5111685A | ✓ |  |  | ✓ | v2.99.11 | 2022-10-12
Westaflexwerk GmbH | Gütersloh PLUS DEK | 000ELS019 | ✓ |  | ✓ | ✓ | 5.20.0-12975 | 2021-06-25
Westaflexwerk GmbH | DUO DEK | 000ELS020 | ✓ |  | ✓ | ✓ | 5.20.0-12975 | 2021-06-25
XCHARGE Europe | C6EU | 1 | ✓ |  |  | ✓ | V1.3.100 | 2021-06-23
XCHARGE Europe | C9LQ satellite | 2 | ✓ |  |  | ✓ | V1.3.100 | 2021-06-23
Zaptec | Zaptec Pro | ZM000613 |  | ✓ |  | ✓ | 3.x.x.x | 2022-05-19
Zaptec | Zaptec Go | ZM000688 |  | ✓ |  | ✓ | 0.0.4.0 | 2022-05-19